## Sheet1
Tech Name: __________________________________
|  | WEEK OF: | ____________________________________
Daily |  | MON | TUE | WED | TH | FRI | NOTES
Compact trash in the trash compactor (morning and afternoon)
Remove trash from common areas (lobbies, hallways, stairwells, laundry rooms)
Inspect hallways for debris, spills, obstructions, and lighting issues
Inspect Roof and Access
Inspect Elevartors
Inspect Conference Room
Inspect Gym and Equipment
Create work orders with images and Complete work orders as they come and document
Preform routine maintenance
Walk with vendors as needed
Report all findings to Manager
| Weekly | MON | TUE | WED | TH | FRI | NOTES
Inspect exterior walls and windows for damage or graffiti
Check landscaping for overgrowth, debris, and irrigation needs
Inspect and clean gutters and downspouts
Check exterior lighting for functionality and replace bulbs if necessary
Test building entry doors and access control systems for proper operation
Empty and sanitize trash bins in common areas; replace liners
Perform hallway inspections for cleanliness, lighting, and wall damage
Test emergency exit signs and lighting
Inspect HVAC units and clean air filters as needed
Test generators and backup power systems
Check water pressure in common area bathrooms and kitchens
Inspect plumbing for leaks in restrooms and janitorial closets
Check all bathroom sinks, faucets, door locks, and toilets to ensure proper working order
Review the operation of sump pumps and drainage systems
Inspect surveillance cameras for proper coverage and functionality
Review security logs for irregularities or issues
Test alarm systems for functionality
Sweep and clean parking lots and garages
Check garage doors and access gates for proper operation
Ensure parking spaces and lines are clearly marked
Inspect & Maintain mechanical, electrical, and fire equipment rooms free of code violations
Trash Chite Cleaning
Pressure Wash Loading Dock Area
Monthly
Inspect building facade for cracks, stains, or structural concerns
Power wash high-traffic exterior areas (entrances and walkways)
Check signage for wear or damage for replacement
Inspect and restock first aid kits and emergency supplies
Conduct/ Coordinate a detailed inspection of HVAC systems
Inspect elevator machinery and arrange for professional servicing if required
Review and adjust thermostat and timer settings for seasonal changes
Review building access logs and update keycard or fob permissions
Check emergency stairwells for obstructions and cleanliness
Inspect lighting systems in parking areas
Remove oil stains or debris from parking surfaces
Inspect bike racks or storage areas for maintenance needs
Review vendor contracts and maintenance agreements
Document all inspections and repairs in a maintenance log
Notify residents of upcoming maintenance activities or inspections
Assist with set up and breakdown for scheduled meetings and events
Inspect water heaters and boilers for efficiency and leaks
Check storage areas for organization and potential hazards
Annually
Ensure all vendors are scheduled for quarterly, annual, bi-annually and annual inspections
Send all permits, inspection reports, paperwork via scanner to the manager as soon as possible
Assist with Hurricane Preparedness as needed.
Other As Needed
Cover maintenance tech duties due to call out or vacation
Complete Inventory Audit
Emergency Calls as Needed
Assist in managing maintenance repairs and projects
Other Items as noted in Job Description